## Bismarck Beckman Chemistry
Test Name & Epic Codes | Significant Changes Summary | Reference Interval | Critical Values (Same for Abbott and Beckman) | Methodology | Reportable Range | Container Types (Preferred in Bold) | Stability (Preferred in Bold)
Acetaminophen (BLOD0548) |  | ≤30 ug/mL |  | Homogeneous Enzyme Immunoassay | 10-600 ug/mL | Light Green Red Gold | Room Temperature: 8 hours Refrigerated: 14 days Frozen: 45 days
AFP, Tumor Marker (BLOD0586) | Rebaselining for 3 months | 0 to <4 months: 33.8->3000 ng/mL 4 to <9 months: 1.6-113.0 ng/mL 9 months to <2.5 years: 1.2-40.1 ng/mL 2.5 to <19 years: 0.8-4.5 ng/mL ≥19 years: <0.5-9.0 ng/mL |  | Chemiluminescent One-Step Sandwich | 0.5-300,000 ng/mL | Red Gold | Room temperature: Not acceptable Refrigerated: 2 days Frozen: 6 months
Alanine Transferase (ALT) (BLOD0573) |  | Male: 0 to <1 year: 6-30 U/L 1 year to <13 years: 9-23 U/L 13 to <19 years: 9-22 U/L ≥19 years: <50 U/L Female: 0 to <1 year: 6-30 U/L 1 to <13 years: 9-23 U/L 13 to <19 years: 8-21 U/L ≥19 years: <35 U/L |  | Enzymatic (with NADH) | 3-10,000 U/L | Light Green Red Gold | Room temperature: 3 days Refrigerated: 7 days Frozen: 7 days
Albumin (BLOD0549) | Beckman has a single reference interval for adults, with no decade-based partitioning for geriatric adults. | Male: 0 to <15 days: 3.1-4.3 g/dL 15 to <1 year: 2.8-4.8 g/dL 1 to <8 years: 3.8-4.7 g/dL 8 to <15 years: 3.9-4.9 g/dL 15 to <19 years: 4.0-5.2 g/dL ≥19 years: 3.5-5.2 g/dL Female: 0 to <15 days: 3.1-4.3 g/dL 15 to <1 year: 2.8-4.8 g/dL 1 to <8 years: 3.8-4.7 g/dL 8 to <15 years: 3.9-4.9 g/dL 15 to <19 years: 3.8-5.1 g/dL ≥19 years: 3.5-5.2 g/dL |  | BCG | 1.5-6.0 g/dL | Light Green Red Gold | Room temperature: 7 days Refrigerated: 1 month Frozen: Not acceptable
Albumin with Albumin/Creatinine Ratio, Random Urine (UACR) (NBLD0156) |  | <30 mg/g creatinine |  | Immunoturbimetric |  | Non-Sterile Sterile | Room temperature: Not acceptable Refrigerated: 1 month Frozen: Not acceptable
Alkaline Phosphatase (BLOD0568) |  | Male: 0 to <15 days: 76-233 U/L 15 days to <1 year: 113-443 U/L 1 to <10 years:132-315 U/L 10 to <13 years: 119-393 U/L 13 to <15 years: 107-442 U/L 15 to <17 years: 75-312 U/L 17 to <19 years: 49-139 U/L ≥19 years: 43-115 U/L Female: 0 to <15 days: 76-233 U/L 15 days to <1 year: 113-443 U/L 1 to <10 years: 132-315 U/L 10 to <13 years: 119-393 U/L 13 to <15 years: 52-239 U/L 15 to <17 years: 45-108 U/L 17 to <19 years: 40-90 U/L ≥19 years: 33-98 U/L |  | p-Nitro-phenyl phosphate | 5-1,500 U/L | Light Green Red Gold | Room temperature: 7 days Refrigerated: 7 days Frozen: 2 months
Ammonia (BLOD0551) |  | <72 umol/L |  | Enzymatic Glutamate Dehydrogenase | 15-1000 umol/L | Lavendar On Ice | Room temperature: Not acceptable Refrigerated: 1 hour Frozen: 24 hours
Amphetamine Class, Urine, Immunoassay (NBLD0406) | Name Change from "Ampetamine Screen, Urine" to "Amphetamine Class, Urine, Immunoassay" | Negative Cutoff: 500 ng/mL |  | Enzyme Immunoassay |  | Non-Sterile Sterile | Room temperature: 7 days Refrigerated: 30 days Frozen: 6 months
Amylase (BLOD0552) |  | 0 up to 15 days: 1-7 U/L 15 days up to 13 weeks: 1-16 U/L 13 weeks up to 1 year: 1-37 U/L 1 year up to 19 years: 18-76 U/L ≥19 years: 22-80 U/L |  | CNPG3 | 10-2,000 U/L | Light Green Red Gold | Room temperature: 7 days Refrigerated: 7 days Frozen: Not acceptable
Anion Gap | Removing Potassium from the Anion Gap calculation for Beckman instruments only. Equation: Anion Gap = Sodium - (Chloride + Bicarbonate) | 6-16 mmol/L |  |  |  | See individual tests | See individual tests
Aspartate Transferase (AST) (BLOD0572) |  | Male: 0 to <15 days: 30-146 U/L 15 days to <1 year: 19-61 U/L 1 year to <7 years: 20-40 U/L 7 years to <12 years: 17-33 U/L 12 years to <19 years: 13-32 U/L ≥19 years: <50 U/L Female: 0 to <15 days: 30-146 U/L 15 days to <1 year: 19-61 U/L 1year to <7 years: 20-40 U/L 7 years to <12 years: 17-33 U/L 12 years to <19 years: 12-24 U/L ≥19 years: <35 U/L |  | Enzymatic NADH | 3-20,000 U/L | Light Green Red Gold | Room temperature: 4 days Refrigerated: 7 days Frozen: 3 months
Barbiturates Class, Urine, Immunoassay (NBLD0407) | Name Change from "Barbiturate Screen, Urine" to "Barbiturate Class, Urine, Immunoassay" | Negative Cutoff: 200 ng/mL |  | Enzyme Immunoassay |  | Non-Sterile Sterile | Room temperature: 7 days Refrigerated: 30 days Frozen: 6 months
Benzodiazepine Class, Urine, Immunoassay (NBLD0408) | Name Change from "Benzodiazpine Screen, Urine" to "Benzodiazepine Class, Urine, Immunoassay" | Negative Cutoff: 200 ng/mL |  | Enzyme Immunoassay |  | Non-Sterile Sterile | Room temperature: 7 days Refrigerated: 30 days Frozen: 6 months
Beta hCG (BLOD0601) |  | Negative: ≤5.0 mIU/mL Positive: ≥25.0 mIU/mL Indeterminate: ≥5.1 - ≤24.9 mIU/mL |  | Chemiluminescent Two-Step Sandwich | 1-248,400 mIU/mL | Light Green Red Gold | Room temperature: 8 hours Refrigerated: 3 days Frozen: 6 months
Beta-Hydroxybutyrate, Serum (BLOD0089) |  | ≤0.27 mmol/L |  | Enzymatic | 0.18-13.5 mmol/L | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 1 week Frozen: Not acceptable
Bilirubin, Direct (BLOD0578) |  | 0 to <15 days: 0.2-0.4 mg/dL 15 days to <1 year: 0-0.2 mg/dL 1 to <9 years: 0-0.1 mg/dL ≥9 years: 0-0.2 mg/dL |  | Diazonium Salt | 0-50 mg/dL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 3 days Frozen: 3 months
Bilirubin, Total (BLOD0527) |  | 0 to <15 days: 0.3-14.8 mg/dL 15 days to <1 year: 0.1-0.7 mg/dL 1 to <9 years: 0.1-0.4 mg/dL 9 to <12 years: 0.1-0.6 mg/dL 12 to <15 years: 0.2-0.7 mg/dL 15 to <19 years: 0.2-0.8 mg/dL ≥19 years: 0.3-1.2 mg/dL | ≤7 days: ≥15.0 mg/dL | Diazonium Salt | 0-90 mg/dL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 3 days Frozen: 3 months
BNP (BLOD0004) |  | <100 pg/mL |  | Chemiluminescent Sandwich Immunoassay | 5-9,400 pg/mL | Lavendar | Room temperature: 2 hours Refrigerated: 7 hours Frozen: 2 months
CA 125 (BLOD0608) | Rebaselining for 3 months | 0-35 U/mL |  | Chemiluminescent One-Step Sandwich | 2-90,000 U/mL | Light Green | Room temperature: 8 hours Refrigerated: 2 days Frozen: 6 months
CA 15-3 (BLOD0311) | Rebaselining for 1 month | 0-31 U/mL |  | Chemiluminescent One-Step Sandwich | 1-9,000 U/mL | Light Green | Room temperature: 8 hours Refrigerated: 2 days Frozen: 6 months
CA 19-9 (BLOD0312) | Not available on Beckman instruments & will be sent to Fargo |  |  |  | Not available | Not available | Not available
Calcium (BLOD0553) |  | 0 to <1 year: 8.7-11 mg/dL 1 year to <19 years: 9.3-10.6 mg/dL ≥19 years: 8.6-10.3 mg/dL | Low: ≤6 mg/dL High: ≥13 mg/dL | Arsenazo | 4-18 mg/dL | Light Green Red Gold | Room temperature: 7 days Refrigerated: 22 days Frozen: 1 year
Cannabinoids Class, Urine, Immunoassay (NBLD0411) | Name Change from "Marijuana Screen, Urine" to "Cannabinoids Class, Urine, Immunoassay" | Negative Cutoff: 50 ng/mL |  | Enzyme Immunoassay |  | Non-Sterile Sterile | Room temperature: 7 days Refrigerated: 30 days Frozen: 6 months
Carbamazepine (BLOD0532) |  | 4-12 ug/mL | ≥15 ug/mL | Enzyme Immunoassay | 2-20 ug/mL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 1 month Frozen: 3 months
Carbon Dioxide (BLOD0554) | Units changed from mEq/L to mmol/L | 0 to 1 month: 13-22 mmol/L ≥1 month: 21-31 mmol/L | <13 mmol/L | Phosphoenolpyruvate Carboxylase | 2-90 mmol/L | Light Green Red Gold | Room temperature: 1 day Refrigerated: 7 days Frozen: 2 weeks
Carcinoembryonic Antigen (CEA) (BLOD0587) | Rebaselining for 1 month | <0.2-3.0 ng/mL |  | Chemiluminescent One-Step Sandwich | 0.2-8,500 ng/mL | Gold Red | Room temperature: 8 hours Refrigerated: 2 days Frozen: 6 months
Chloride (BLOD0555) | Units changed from mEq/L to mmol/L | 998-107 mmol/L |  | Indirect ISE | 50-200 mmol/L | Light Green Red Gold | Room temperature: 8 hours Refrigerated: 2 days Frozen: 6 months
Cholesterol (BLOD0002) |  | ≥2 to 18 years: <170 mg/dL ≥18 years: <200 mg/dL |  | Enzymatic | 25-7,000 mg/dL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 7 days Frozen: 3 months
Cocaine Class, Urine, Immunoassay (NBLD0412) | Name Change from "Cocaine Screen, Urine" to "Cocaine Class, Urine, Immunoassay" | Negative Cutoff: 150 ng/mL |  | Enzyme Immunoassay |  | Non-Sterile Sterile | Room temperature: 7 days Refrigerated: 30 days Frozen: 6 months
Cortisol (BLOD0609) |  | AM: 6.7-22.6 ug/dL PM: <10 ug/dL |  | Chemiluminescent One-Step Competitive | 0.8-120 ug/dL | Light Green Red Gold | Room temperature: 8 hours Refrigerated: 2 days Frozen: 6 months
C-Reactive Protein (CRP) (BLOD0621) |  | <5 mg/L |  | Latex Particle Immunoturbidimetric | 5-1,440 mg/L | Light Green Red Gold | Room temperature: 11 days Refrigerated: 2 months Frozen: 6 months
Creatine Kinase (CK) (BLOD0556) |  | Male: 20-200 U/L Female: 20-180 U/L |  | Photometric (IFCC) | 10-100,000 U/L | Light Green Red Gold | Room temperature: 4 hours Refrigerated: 8 hours Frozen: 1 month
Creatinine (BLOD0558) | Methodology changing from Enzymatic to Jaffe | Male: 0 to 15 days: 0.3-0.9 mg/dL 15 days up to 2 years: 0.1-0.4 mg/dL 2 years up to 5 years: 0.2-0.4 mg/dL 5 years up to 12 years: 0.3-0.6 mg/dL 12 years up to 15 years: 0.5-0.8 mg/dL 15 years up to 19 years: 0.6-1.1 mg/dL ≥19 years: 0.7-1.3 mg/dL Female: 0 to 15 days: 0.3-0.9 mg/dL 15 days up to 2 years: 0.1-0.4 mg/dL 2 years up to 5 years: 0.2-0.4 mg/dL 5 years up to 12 years: 0.3-0.6 mg/dL 12 years up to 15 years: 0.5-0.8 mg/dL 15 years up to 19 years: 0.5-0.8 mg/dL ≥19 years: 0.6-1.2 mg/dL |  | Jaffe | 0.2-75 mg/dL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 7 days Frozen: 6 months
Cyclosporine (BLOD0508, BLOD1096) |  | Trough: 50-250 ng/mL 2 hours post-dose: 500-1,200 ng/mL | ≥450 ng/mL | Enzyme Immunoassay | 25-2,000 ng/mL | Lavendar Whole Blood | Room temperature: Not acceptable Refrigerated: 7 days Frozen: 3 months
Digoxin (BLOD0585) |  | 0.5-2.0 ng/mL | ≥2.5 ng/mL | Enzyme Immunoassay | 0.3-25.0 ng/mL | Light Green Red Gold | Room temperature: 8 hours Refrigerated: 7 days Frozen: 6 months
Estradiol (BLOD0588) |  | Female: 0 to <1 year: ≤53 pg/mL 1 to <12 years: <20 pg/mL 12 to <19 years: ≤198 pg/mL ≥19 years: Early Follicular: 22-115 pg/mL Mid Follicular: 25-115 pg/mL Ovulatory Peak: 32-517 pg/mL Mid Luteal: 37-246 pg/mL Post-Menopausal: ≤25 pg/mL Male: 0 to <1 year: ≤53 pg/mL 1 to <12 years: <20 pg/mL 12 to <19 years: ≤43 pg/mL ≥19 years: ≤32 pg/mL |  | Chemiluminescent Two-Step Competitive | 15-10,400 pg/mL | Light Green Red Gold | Room temperature: 8 hours Refrigerated: 7 days Frozen: 6 months
Ethanol (BLOD0550) |  | <10 mg/dL |  | Enzymatic | 10-1,800 mg/dL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 3 days Frozen: >3 days
Fentanyl Class, Urine, Immunoassay (NBLD0648) | Name Change from "Fentanyl Screen, Urine" to "Fentanyl Class, Urine, Immunoassay" | Negative Cutoff: 5 ng/mL |  | Enzyme Immunoassay |  | Non-Sterile Sterile | Room temperature: 7 days Refrigerated: 30 days Frozen: 6 months
Ferritin (BLOD0589) |  | Male: 0 to <15 days: 40-540 ng/mL 15 days to <6 months: 15-375 ng/mL 6 months to <1 year: 13-192 ng/mL 1 to <16 years: 10-56 ng/mL 16 to <19 years: 19-102 ng/mL ≥19 years: 24-336 ng/mL Female: 0 to <15 days: 40-540 ng/mL 15 days to <6 months: 15-375 ng/mL 6 months to <1 year: 13-192 ng/mL 1 to <16 years: 10-56 ng/mL 16 to <19 years: 3-75 ng/mL ≥19 years: 11-307 ng/mL |  | Chemiluminescent One-Step Sandwich | 1-75,000 ng/mL | Light Green Red Gold | Room temperature: 8 hours Refrigerated: 2 days Frozen: 6 months
Folate (BLOD0605) |  | 0 to <14 years: ≥12.2 ng/mL 14 to <19 years: ≥8.9 ng/mL ≥19 years: ≥5.9 ng/mL |  |  | 2.0-22.3 ng/mL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 48 hours Frozen: 6 months
Follicular Stimulating Hormone (FSH) (BLOD0590) |  | Female: 0 to <1 year: 0.2-15.7 mIU/mL 1 to <9 years: 0.6-6.4 mIU/mL 9 to <12 years: 0.9-7.8 mIU/mL 12 to <19 years: 0.6-10.2 mIU/mL ≥19 years: Mid-Follicular: 3.9-8.8 mIU/mL Mid-Cycle Peak: 4.5-22.5 mIU/mL Mid-Luteal: 1.8-5.1 mIU/mL Post menopausal: 16.7-113.6 mIU/mL Males: 0 to <1 year: 0.0-4.0 mIU/mL 1 to <9 years: 0.2-2.3 mIU/mL 9 to <12 years: 0.6-5.0 mIU/mL 12 to <19 years: 1.3-7.4 mIU/mL ≥19 years: 1.3-19.3 mIU/mL |  |  | 1.2-400 mIU/mL | Light Green Red Gold | Room temperature: 8 hours Refrigerated: 48 hours Frozen: 6 months
Free T3 (FT3) (BLOD0600) |  | Female: 0 to <1 year: 2.8-4.5 pg/mL 1 year to <15 years: 2.6-4 pg/mL 15 years to <19 years: 2.3-3.5 pg/mL ≥19 years: 2.5-3.9 pg/mL Male: 0 to <1 year: 2.8-4.5 pg/mL 1 year to <15 years: 2.6-4 pg/mL 15 years to <19 years: 2.5-3.7 pg/mL ≥19 years: 2.5-3.9 pg/mL |  | Chemiluminescent Two-Step Competitive | 1.8-30 pg/mL | Light Green Red Gold | Room temperature: 8 hours Refrigerated: 2 days Frozen: 6 months
Free T4 (FT4) (BLOD0596) |  | 0 to <20 days: 1.4-4.5 ng/dL 20 days to <3 years: 0.7-1.4 ng/dL ≥3 years: 0.6-1.1 ng/dL Reflex to FT3 fires if: up to 20 days: ≤4.5 ng/dL up to 3 yrs: ≤1.4 ng/dL ≥3 years: ≤1.1 ng/dL |  | Chemiluminescent Two-Step Competitive | 0.4-5.6 ng/dL | Light Green Red Gold | Room temperature: 8 hours Refrigerated: 2 days Frozen: 3 months
Gamma-Glutamyltransferase (GGT) (BLOD0561) |  | 0 to <15 days: 17-158 U/L 15 to <1 year: 6-92 U/L 1 to <11 years: 5-12 U/L 11 to <19 years: 5-15 U/L ≥19 years: 9-64 U/L |  | Glutamyl-carboxy-p-nitroanilide | 3-12,000 U/L | Gold Red | Room temperature: 7 days Refrigerated: 7 days Frozen: Not acceptable
Gentamicin (BLOD0534, BLOD0535, BLOD0536) |  | Random: 2.0-8.0 ug/mL Peak: 5.0-10 ug/mL Trough: 0.5-1.5 ug/mL |  | Enzyme Immunoassay | 0.3-30 ug/mL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 6 weeks Frozen: 6 months
Glucose (BLOD0006) |  | 70-94 mg/dL | ≤1 month: <40 and ≥150 mg/dL >1 month: ≤60 and ≥400 mg/dL | Hexokinase | 10-1,600 mg/dL | Light Green Red Gold | Room temperature: 8 hours Refrigerated: 3 days Frozen: Not acceptable
Glycated Hemoglobin (HbA1c) (BLOD0629) |  | <5.7% |  | Turbidometric Immunoinhibition | 4.0-15.0 % | Lavendar | Room temperature: 8 hours Refrigerated: 7 days Frozen: 1 month
Haptoglobin (BLOD0616) |  | 0 to <15 days: 1-11 mg/dL 15 days to <1 year: 8-210 mg/dL 1 to <12 years: 8-155 mg/dL 12 to < 19 years: 8-170 mg/dL ≥19 years: 30-200 mg/dL |  | Immunoturbidometric | 30-400 mg/dL | Gold Red | Room temperature: Not acceptable Refrigerated: 7 days Frozen: 2 months
HDL (BLOD0566) |  | ≥2 to 18 years: >45 mg/dL ≥ 18 years, Female: >50 mg/dL ≥ 18 years, Male: >40 mg/dL |  | Accelerator Selective Detergent | 3-200 mg/dL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 1 week Frozen: 3 months
Hepatitis B Surface Antigen (BLOD0679) | Only Hepatitis B Surface Antigen will be performed in Bismarck. The remaining viral Hepatitis tests will be sent to Fargo until these tests are available for Beckman. | Non-reactive |  | Chemiluminescent Sandwich Immunoassay |  | Gold Red | Room temperature: 72 hours Refrigerated: 6 days Frozen: 30 days
HIV Screen Reflex to Confirm (BLOD0676) |  | Non-reactive |  | HIV-Ag: Chemiluminescent One-Step Sandwich; HIV-Ab: Chemiluminescent Two-Step Sandwich |  | Gold Lavendar Red | Room temperature: 24 hours Refrigerated: 5 days Frozen: 7 days
Iron (BLOD0562) |  | Male: 0 to <14 years: 17-138 ug/dL 14 years to <19 years: 36-181 ug/dL ≥19 years: 70-180 ug/dL Female: 0 to <14years: 17-138 ug/dL 14 years to <19 years: 21-175 ug/dL ≥19 years: 60-180 ug/dL |  | TPTZ- no deproteinization | 10-1,000 ug/dL | Light Green Red Gold | Room temperature: 3 days Refrigerated: 7 days Frozen: Not acceptable
Lactate Dehydrogenase (LDH) (BLOD0564) |  | Male: 0 to <15 days: 256-1017 U/L 15 days to <1 year: 135-375 U/L 1 year to <10 years: 159-266 U/L 10 years to <15 years: 141-235 U/L 15 years to <19 years: 107-207 U/L ≥19 years: <248 U/L Female: 0 to <15 days: 256-1017 U/L 15 days to <1 year: 135-375 U/L 1 year to <10 years: 159-266 U/L 10 years to <15 years: 130-225 U/L 15 years to <19 years: 107-207 U/L ≥19 years: <247 U/L |  | Lactate to Pyruvate | 25-12,000 U/L | Light Green Red Gold | Room temperature: 7 days Refrigerated: 4 days Frozen: Not acceptable
Lactic Acid (BLOD0563) |  | 0.5-2.2 mmol/L | ≥3.9 mmol/L | Enzymatic | 0.2-50.0 mmol/L | Gray on Ice | Room temperature: 8 hours Refrigerated: 14 days Frozen: Not acceptable
LDL, Calculated | Calculated with the Modified Sampson-NIH equation | ≥2 to 18 years: <110 mg/dL ≥18 years: <100 mg/dL |  |  |  | N./A
Lipase (BLOD0565) |  | <73 U/L |  | Enzymatic-Colorimetric | 3-1,800 U/L | Light Green Red Gold | Room temperature: 7 days Refrigerated: 3 weeks Frozen: 1 year
Lithium (BLOD0537) | Units changed from mEq/L to mmol/L | 0.6-1.2 mmol/L | ≥2 mmol/L | Colorimetric | 0.1-5.0 mmol/L | Gold Red | Room temperature: 1 week Refrigerated: 1 week Frozen: Not acceptable
Luteinizing Hormone (LH) (BLOD0591) |  | Female: 0 to <1 year: 0-3.3 mIU/mL 1 to <5 years: 0-2.1 mIU/mL 5 to <10 years: 0-1.7 mIU/mL 10 to <14 years: 0-8.1 mIU/mL 14 to <19 years: 1.6-19 mIU/mL Mid follicular: 2.1 – 10.9 mIU/mL Mid-Cycle Peak: 19.2 – 103.0 mIU/mL Mid-Luteal: 1.2 – 12.9 mIU/mL Post menopausal: 10.9 – 58.6 mIU/mL Male: 0 to <1 year: 0-6.8 mIU/mL 1 to <5 years: 0-2.1 mIU/mL 5 to <10 years: 0-1.7 mIU/mL 10 to <14 years: 0-3.3 mIU/mL 14 to <19 years: 0.8-9.0 mIU/mL ≥19 years: 1.2 – 8.6 mIU/mL |  | Chemiluminescent Two-Step Sandwich | 0.3-500 mIU/mL | Light Green Red Gold | Room temperature: 8 hours Refrigerated: 48 hours Frozen: 6 months
Magnesium (BLOD0567) |  | 0 to <15 days: 1.9-3.8 mg/dL ≥15 days to <1 year: 1.9-3.0 mg/dL ≥1 years to <19 years: 2.0-2.7 mg/dL ≥19 years: 1.8-2.9 mg/dL |  | Xylidyl Blue | 0.5-8.0 mg/dL | Light Green Red Gold | Room temperature: 1 week Refrigerated: 1 week Frozen: Not acceptable
Methotrexate (BLOD0645) |  | Reference Intervals for this analyte are not appropriate. Interpret results relative to the timing of the last administered dose. |  | Enzyme Immunoassay | 0.03-5,200 ummol/L | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 1 week Frozen: 4 weeks
Non-HDL Cholesterol, Calculated | Equation: Non-HDL Cholesterol = Total Cholesterol - HDL Cholesterol | ≥2 to 18 years: <120 mg/dL ≥18 years: <130 mg/dL |  |  |  | N/A
Opiate Class, Urine, Immunoassay (NBLD0409) | Name Change from "Opiates Screen, Urine" to "Opiate Class, Urine, Immunoassay" | Negative Cutoff: 300 ng/mL |  | Enzyme Immunoassay |  | Non-Sterile Sterile | Room temperature: 7 days Refrigerated: 30 days Frozen: 6 months
Oxycodone Class, Urine, Immunoassay (NBLD0616) | Name Change from "Oxycodone Screen, Urine" to "Oxycodone Class, Urine, Immunoassay" | Negative Cutoff: 100 ng/mL |  | Enzyme Immunoassay |  | Non-Sterile Sterile | Room temperature: 7 days Refrigerated: 30 days Frozen: 6 months
Phenobarbital (BLOD0538) |  | 15.0-40.0 ug/mL | ≥60 ug/mL | Enzyme Immunoassay | 5-240 ug/mL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 1 month Frozen: 3 months
Phenytoin (BLOD0539) |  | 10-20 ug/mL | ≤6 months: ≥25 ug/mL >6 months: ≥30 ug/mL | Enzyme Immunoassay | 2.5-40 ug/mL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 1 month Frozen: 3 months
Phosphorus (BLOD0569) |  | Males: 0 to <15 days: 5.4-10.4 mg/dL 15 days to <1 year: 4.5-8.2 mg/dL 1 to <5 years: 4.2-6.7 mg/dL 5 to <13 years: 3.9-5.8 mg/dL 13 to <16 years: 3.3-6.1 mg/dL 16 to <19 years: 3.0-4.8 mg/dL ≥19 years: 2.5-4.5 mg/dL Females: 0 to <15 days: 5.4-10.4 mg/dL 15 days to <1 year: 4.5-8.2 mg/dL 1 to <5 years: 4.2-6.7 mg/dL 5 to <13 years: 3.9-5.8 mg/dL 13 to <16 years: 3.0-5.4 mg/dL 16 to <19 years: 3.0-4.8 mg/dL ≥19 years: 2.5-4.5 mg/dL |  | Phosphomolybdate | 1-20 mg/dL | Light Green Red Gold | Room temperature: 1 day Refrigerated: 4 days Frozen: Not acceptable
Potassium (BLOD0570) | Units changed from mEq/L to mmol/L | 3.5-5.1 mmol/L | ≤2.5 and ≥6.0 mmol/L | Indirect ISE | 1-10 mmol/L | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 7 days Frozen: Not acceptable
Prealbumin (BLOD0618) |  | Males: 0 to <15 days: 2-11 mg/dL 15 days to <1 year: 5-22 mg/dL 1 to <5 years: 11-21 mg/dL 5 to <13 years: 13-24 mg/dL 13 to <16 years: 17-29 mg/dL 16 to <19 years: 19-32 mg/dL ≥19 years: 20-40 mg/dL Females: 0 to <15 days: 2-11 mg/dL 15 days to <1 year: 5-22 mg/dL 1 to <5 years: 11-21 mg/dL 5 to <13 years: 13-24 mg/dL 13 to <16 years: 17-29 mg/dL 16 to <19 years: 16-31 mg/dL ≥19 years: 20-40 mg/dL |  | Immunoturbidometric | 3-80 mg/dL | Gold Red | Room temperature: Not acceptable Refrigerated: 7 days Frozen: 2 months
Procalcitonin (BLOD1156) |  | <0.07 ng/mL |  | Chemiluminescent Two-Step Sandwich | 0.5-880 ng/mL | Light Green | Room temperature: 16 hours Refrigerated: 48 hours Frozen: 75 days
Progesterone (BLOD0592) |  | Males: 0-4 days: Reference values have not been established for patients who are younger then 4 days of age 4 days to <1 year: 0.2-6.0 ng/mL ≥1 year to <9 years: 0-0.9 ng/mL ≥9 years to <13 years: 0-1.4 ng/mL ≥13 years to <19 years: 0.2-1.6 ng/mL ≥19 years: 0.1-0.4 ng/mL Females: 0-4 days: Reference values have not been established for patients who are younger then 4 days of age 4days to <1 year: 0.3-8.7 ng/mL ≥1year to <9 years: 0-0.9 ng/mL ≥9 years to <13 years: 0-1.4 ng/mL ≥13 years to <19 years: 0.3-12.1 ng/mL Follicular Phase: 0.1-1.9 ng/mL Ovulation Phase: 0.2-2.1 ng/mL Luteal Phase: 0.2-17.8 ng/mL Postmeanopausal: 0.1-0.4 ng/mL Pregnancy, First Trimester: 0.7-63.7 ng/mL Pregnancy, Second trimester: 17.4-87.5 ng/mL |  | Chemiluminescent Two-Step Competitive | 0.2-120 ng/mL | Light Green Red Gold | Room temperature: 8 hours Refrigerated: 2 days Frozen: 30 days
Prolactin (BLOD0593) |  | Males and Females: 0 to < 30 days: >50.9 ng/mL 30 days to < 1 year: 4.0-71.0 ng/mL 1 year to < 19 years: 3.2-18.5 ng/mL Males: ≥19 years: 2.6-13.1 ng/mL Females: ≥19 to 50 years: 3.3-26.7 ng/mL ≥50 years: 2.7-19.6 ng/mL |  | Chemiluminescent One-Step Sandwich | 0.3-2,000 ng/mL | Light Green Red Gold | Room temperature: 8 hours Refrigerated: 48 hours Frozen: 6 months
Protein, Total (BLOD0525) |  | 0 to <15 days: 5.2-7.9 g/dL 15 days to <1 year: 4.3-6.8 g/dL 1 to <6 years: 5.9-7.2 g/dL 6 to <9 years: 6.2-7.4 g/dL 9 to <19 years: 6.3-7.7 g/dL ≥19 years: 6.0-8.3 g/dL |  | Biuret | 3-36 g/dL | Light Green Red Gold | Room temperature: 6 days Refrigerated: 4 weeks Frozen: Not acceptable
PSA, Total (BLOD0594) | Rebaselining for 1 week | Male: <50 years: 0-2.5 ng/mL ≥50 years to <60 years: 0-3.5 ng/mL ≥60 years: 0-4 ng/mL Female: 0-4 ng/mL |  |  | 0.02-1,420 ng/mL | Gold Red | Room temperature: Not acceptable Refrigerated: 24 hours Frozen: 5 months
PSA, Total with Reflex to Free PSA (BLOD1596) | Will be sent to Quest to run on their Beckman instruments
PTH (BLOD0983) |  | 0 to <1 year: 7-58 pg/mL 1 year to <8 years: 12-55 pg/mL 8 years to <19 years: 12-71 pg/mL ≥19 years: 12-88 pg/mL |  | Chemiluminescent One-Step Sandwich | 1-28,000 pg/mL | Gold Red | Room temperature: 4 hours Refrigerated: 8 hours Frozen: 6 months
PTH, Intraoperative (BLOD1571) | New test for Beckman instruments with a 10-15 minute shorter analytical time and lower reportable range | 0 to <1 year: 7-58 pg/mL 1 year to <8 years: 12-55 pg/mL 8 years to <19 years: 12-71 pg/mL ≥19 years: 12-88 pg/mL |  | Chemiluminescent One-Step Sandwich | 1-23,620 pg/mL | Gold Red | Room temperature: 4 hours Refrigerated: 8 hours Frozen: 6 months
Rheumatoid Factor (BLOD0627) |  | ≤14 IU/mL |  | Immunoturbidometric | 10-240 IU/mL | Light Green Red Gold | Room temperature: 1 day Refrigerated: 8 days Frozen: 3 months
Salicylate (BLOD0540) |  | 15.0-30.0 mg/dL |  | Enzyme Immunoassay | 1.5-80 mg/dL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 2 hours Frozen: 1 year
Sodium (BLOD0571) | Units changed from mEq/L to mmol/L | 136-145 mmol/L | ≤120 and ≥160 mmol/L | Indirect ISE | 10-400 mmol/L | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 7 days Frozen: Not acceptable
Syphilis IgG and IgM Antibody with Reflex to Supplemental Testing (BLOD0519) |  | Non-reactive |  | Chemiluminescent Two-Step Sandwich |  | Gold Red Light Green | Room temperature: 72 hours Refrigerated: 7 days Frozen: 30 days
Tacrolimus (BLOD0681) |  | 5.0-20.0 ng/mL |  | Particle-enhanced turbidimetric immunoassay | 1.0-30.0 ng/mL | Lavendar Whole Blood | Room temperature: Not acceptable Refrigerated: 7 days Frozen: 6 months
Testosterone, Total, Immunoassay (BLOD0606) | Send-out to Fargo until the Testosterone, Total, Mass Spectrometry test is available in Sioux Falls
Theophylline (BLOD0541) |  | 5.0-15.0 ug/mL |  | Enzyme Immunoassay | 2.5-40.0 ug/mL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 1 month Frozen: 3 months
Tobramycin (BLOD042, BLOD0543, BLOD0544) | Lower reference limit raised from 0.5 to 0.6 ug/mL | Peak: 5.0-10 ug/mL Trough: 0.6-1.5 ug/mL |  | Enzyme Immunoassay | 0.6-20.0 ug/mL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: Not acceptable Frozen: 3 months
Transferrin (BLOD0619) |  | 0 to <9 weeks: 99-218 mg/dL 9 weeks to <1 year: 102-317 mg/dL 1 to <19 years: 214-330 mg/dL ≥19 years: 200-360 mg/dL |  | Immunoturbidimetric | 75-750 mg/dL | Gold Red | Room temperature: Not acceptable Refrigerated: Not acceptable Frozen: 40 days
Triglyceride (BLOD0574) |  | ≥2 to 10 years: <75 mg/dL ≥10 to 18 years: <90 mg/dL ≥18 years: <150 mg/dL |  | Glycerol Phosphate Oxidase | 10-20,000 mg/dL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 7 days Frozen: 3 months
Troponin, High-Sensitivity (BLOD1723) | See separate link for the new Beckman algorithm | Male: 5-20 ng/L Female: 5-12 ng/L |  | Chemiluminescent Two-Site Sandwich | 5-229,730 ng/L | Light Green | Room temperature: 4 hours Refrigerated: 48 hours Frozen: 180 days
TSH (BLOD0597) |  | 0 minutes to <12 years: 0.79-5.85 uIU/mL 12 years to <19 years: 0.68-3.35 uIU/mL ≥19 years: 0.45-5.33 uIU/mL |  | Chemiluminescent One-Step Sandwich | 0.01-920.00 uIU/mL | Light Green Red Gold | Room temperature: 18 hours Refrigerated: 7 days Frozen: 90 days
Urea Nitrogen (BLOD0001) |  | Male: 0 to 15 days: 3-22 mg/dL 15 days up to 1 year: 4-17 mg/dL 1 year up to 10 years: 9-22 mg/dL 10 years up to 19 years: 7-20 mg/L ≥19 years: 6-20 mg/dL Female: 0 to 15 days: 3-22 mg/dL 15 days up to 1 year: 4-17 mg/dL 1 year up to 10 years: 9-22 mg/dL 10 years up to 19 years: 7-18 mg/dL ≥19 years: 6-20 mg/dL |  | Urease GLDH | 2-390 mg/dL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 7 days Frozen: Not acceptable
Uric Acid (BLOD0576) |  | Male: 0 to <15 days: 2.9-12.4 mg/dL 15 days to <1 year: 1.7-6.3 mg/dL 1 year to < 12 years: 1.9-4.9 mg/dL 12 to <19 years: 2.7-7.5 mg/dL ≥19 years: 3.5-7.2 mg/dL Female: 0 to <15 days: 2.9-12.4 mg/dL 15 days to <1 year: 1.7-6.3 mg/dL 1 year to < 12 years: 1.9-4.9 mg/dL 12 to <19 years: 2.7-5.8 mg/dL ≥19 years: 2.6-6.0 mg/dL |  | Uricase | 1.5-30 mg/dL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 7 days Frozen: 6 months
Valproic Acid (BLOD0533) |  | 50-100 ug/mL |  | Enzyme Immunoassay | 10-450 ug/mL | Light Green Red Gold | Room temperature: Not acceptable Refrigerated: 2 hours Frozen: 1 year
Vancomycin (BLOD0545, BLOD0546, BLOD0547) |  | Peak: 20.0-40.0 ug/mL Trough: 10.0-20.0 ug/mL | Trough: >50.1 ug/mL | Enzyme Immunoassay | 2-150 ug/mL | Light Green Red Gold Lavendar | Room temperature: Not acceptable Refrigerated: 2 hours Frozen: 3 months
Vitamin B12 (BLOD0604) |  | 180-914 pg/mL |  | Chemiluminescent Two-Step Competitive | 68-1,500 pg/mL | Light Green Red Gold | Room temperature: 8 hours Refrigerated: 24 hours Frozen: 6 months
Vitamin D (BLOD0549) |  | Deficient: <20 ng/mL Suboptimal: 20-<30 ng/mL Optimal: 30-50 ng/mL Toxicity Risk: >100 ng/mL |  | Chemiluminescent Two-Step Competitive | 7-120 ng/mL | Light Green Red Gold | Room temperature: 8 hours Refrigerated: 7 days Frozen: 1 year